## Slide 1
Design and performance evaluation
of front-end electronics
for COMET straw tracker
Kazuki Ueno1, Eitaro Hamada1, Shohei Hashimoto2, Masahiro Ikeno1, Satoshi Mihara1, Hajime Nishiguchi1, Tomohisa Uchida1, Hiroshi Yamaguchi1,
1KEK, 2Kyushu University
Param. | Req. | Meas.
Gain | 1 V/pC | ~1V/pC
S/N @ 16fC | 5 | 5.6
Timing res. | 1 ns | <0.6ns
We have designed and developed front-end electronics for COMET straw tracker which is called ROESTI.
Performance evaluation for the ROESTI was performed and we confirmed that the performance satisfied our requirements.